| HCMC University of Technology and Education Faculty of Chemical and Food Technology Department of Food Technology | Major: Food Technology Level: Undergraduate Program: High quality training |
| --- | --- |

COURSE SYLLABUS

- Vietnamese name: Phân tích thực phẩm                  Course number: FANA220450E

- English name: Food Analysis

- Credit number:  2 credits (2/0/4) (2 credits in class, 0 credit in laboratory, 4 credits at home)

Contribute to 15 weeks (2 hours in class /week + 4 hours self–study /week)

- Instructors:

1/ Main Lecturer: Nguyen Vinh Tien

2/ List of the other lecturers:

Pham Thi Hoan

Le Tan Hoang

- Prerequisites

Prerequisite courses: Analytical chemistry

- Course Description

This course is designed to provide students a clear understanding of the principles behind various methods and instruments that are commonly used in food industry and academic research labs to quantitatively analyze and characterize the main components of food, like moisture, ash, lipids, proteins, carbohydrates, vitamin, as well as physical properties of food, like colour and viscosity.

- Course Goals

| Goals | Goal description This course provides students with: | Program ELO |
| --- | --- | --- |
| G1 | The knowledge of principles of analyzing food components and properties. | 2 |
| G2 | The ability of calculating, evaluating the results of food analyses. | 4 |
| G3 | Presentation and life-long learning skills | 8, 12 |

- Course objectives and ELO

| Course objectives |  | Description (Upon successful completion of this course, students will be able to) | ELO of Program |
| --- | --- | --- | --- |
| G1 | 1 | Interprete basic principles, methods and techniques of analyzing and characterizing food components. | 2 |
|  | 2 | Describe basic principles of modern instrumentation methods in food analysis, like spectroscopy, chromatography. | 2 |
|  | 3 | Describe the concepts and methods of determinating physical properties of food. | 2 |
| G2 | 1 | Calculate and evaluate analytical data about food components. | 4 |
|  | 2 | Determine the contents of moisture, ash, lipids, protein and carbohydrates in food. | 4 |
| G3 | 1 | Find the required information about analytical methods for concrete food objects. | 12 |
|  | 2 | Clearly present and explain the learned concepts to another person. | 8 |

- References

- Textbooks:

1. Nielsen, S. Suzanne, ed. Food analysis, 4th edition. New York: Springer, 2010.

- Reference:

- Tran Bich Lam, Food Analysis Laboratory Experiments, Ho Chi Minh City National University Publishing, 2013.

- Assessment

Learning outcomes of students will be evaluated through the implementation of questions selected from homework; tests and final test.

- Grade scale: 10

- Plan for assessments:

| Methods for assessments | Content | Time | Methods | ELO | Rated of grade (%) |
| --- | --- | --- | --- | --- | --- |
| Midterm |  |  |  |  | 50 |
| Test #1 | Data evaluation, sampling and sample preparation techniques | Week 2th | Online test |  | 10 |
| Test #2 | Proximate analysis | Week 10th | In-class test |  | 20 |
| Test #3 | Spectroscopy and Chromatography | Week 13 | Online test |  | 10 |
| Test #4 | Physical properties of food | Week 15 | In-class test |  | 10 |
| Final exam |  |  |  |  | 50 |
|  | - Including most course objectives. - Test time 60 minutes. |  | Paper test |  | 50 |

- Contents and tentative schedule

| Week | Content | Expected Learning Outcomes |
| --- | --- | --- |
|  | Chapter 1: Introduction to Food Analysis (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 1.1 Introduction 1.2 Trends and Demands 1.3 Types of Samples Analyzed 1.4 Steps in Analysis 1.4.1 Select and Prepare Sample 1.4.2 Perform the Assay 1.4.3 Calculate and Interpret the Results 1.5 Choice and Validity of Method 1.5.1 Characteristics of the Method Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.1, 1.2, 1.3 |
|  | B/ Tasks for students at home (4) - Homework - Prepare the next lesson |  |
| 2 | Chapter 2: Evaluation of Analytical Data (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 4.1 Introduction 55 4.2 Measures of Central Tendency 55 4.3 Reliability of Analysis 55 4.3.1 Accuracy and Precision 55 4.3.2 Sources of Errors 59 4.3.3 Specificity 59 4.3.4 Sensitivity and Limit of Detection 59 4.4 Curve Fitting: Regression Analysis 60 4.4.1 Linear Regression 60 4.4.2 Correlation Coefficient 61 4.4.3 Errors in Regression Lines 62 4.5 Reporting Results 63 4.5.1 Significant Figures 64 4.5.2 Rejecting Data 65 Sampling and Sample Preparation 5.1 Introduction 71 5.2 Selection of Sampling Procedures 71 5.2.1 General Information 71 5.2.2 Sampling Plan 71 5.2.3 Factors Affecting the Choice of Sampling Plans 72 5.2.4 Sampling by Attributes and Sampling by Variables 72 5.2.5 Acceptance Sampling 73 5.2.6 Risks Associated with Sampling 74 5.3 Sampling Procedures 74 5.3.1 Introduction and Examples 74 5.3.2 Homogeneous vs. Heterogeneous Populations 74 5.3.3 Manual vs. Continuous Sampling 74 5.3.4 Statistical Considerations 75 5.3.5 Problems in Sampling 77 5.4 Preparation of Samples 77 5.4.1 General Size Reduction Considerations 77 5.4.2 Grinding 78 5.4.3 Enzymatic Inactivation 79 5.4.4 Lipid Oxidation Protection 80 5.4.5 Microbial Growth and Contamination 80 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 2.1 1.1 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson |  |
| 3 | Chapter 3: Moisture and Total Solids Analysis (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 6.1 Introduction 87 6.2 Oven Drying Methods 88 6.3 Distillation Procedures 93 6.4 Chemical Method: Karl Fischer Titration 94 6.5 Physical Methods 96 6.6 Water Activity 101 6.7 Comparison of Methods 101 Ash analysis 7.1 Introduction 107 7.1.1 Definitions 107 7.1.2 Importance of Ash in Food Analysis 107 7.1.3 Ash Contents in Foods 107 7.2 Methods 108 7.2.1 Sample Preparation 108 7.2.1.1 Plant Materials 108 7.2.1.2 Fat and Sugar Products 108 7.2.2 Dry Ashing 108 7.2.2.1 Principles and Instrumentation 108 7.2.2.2 Procedures 109 7.2.2.3 Special Applications 109 7.2.3 Wet Ashing 109 7.2.3.1 Principle, Materials, and Applications 109 7.2.3.2 Procedures 110 7.2.4 Microwave Ashing 110 7.2.4.1 Microwave Wet Ashing 111 7.2.4.2 Microwave Dry Ashing 112 7.2.5 Other Ash Measurements 112 7.3 Comparison of Methods 112 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.1, 2.1, 2.2 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.1, 2.1, 2.2, 3.1 |
| 4 | Chapter 4: Fat Analysis (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 8.1 Introduction 119 8.1.1 Definitions 119 8.1.2 General Classification 119 8.1.2.1 Simple Lipids 119 8.1.2.2 Compound Lipids 119 8.1.2.3 Derived Lipids 119 8.1.3 Content of Lipids in Foods 119 8.1.4 Importance of Analysis 120 8.2 General Considerations 120 8.3 Solvent Extraction Methods 120 8.3.1 Sample Preparation 121 8.3.2 Solvent Selection 122 8.3.3 Continuous Solvent Extraction Method:Goldfish Method 8.3.4 Semicontinuous Solvent Extraction Method:Soxhlet Method 123 8.3.5 Discontinuous Solvent Extraction Methods 123 8.3.6 Total Fat by GC for Nutrition Labeling (AOAC Method 996.06) 125 8.4 Nonsolvent Wet Extraction Methods 127 8.5 Instrumental Methods 130 8.5.1 Infrared Method 130 8.5.2 Specific Gravity (Foss-Let Method) 130 8.5.3 Nuclear Magnetic Resonance 131 8.6 Comparison of Methods 131 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.1, 2.1, 2.2 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.1, 2.1, 2.2, 3.1 |
| 5 | Chapter 5: Fat Characterization (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 14.1 Introduction 241 14.2 General Considerations 243 14.3 Methods for Bulk Oils and Fats 244 14.3.1 Sample Preparation 244 14.3.2 Refractive Index 244 14.3.3 Melting Point 245 14.3.4 Smoke, Flash, and Fire Points 245 14.3.5 Cold Test 246 14.3.6 Cloud Point 246 14.3.7 Color 246 14.3.8 Iodine Value 246 14.3.9 Saponification Value 247 14.3.10 Free Fatty Acids and Acid Value 248 14.3.11 Solid Fat Index and Solid Fat 14.3.12 Consistency and Spreadability 249 14.3.13 Polar Components in Frying Fats 249 14.4 Lipid Oxidation: Measuring Present Status 250 14.4.1 Overview 250 14.4.2 Sample Preparation 251 14.4.3 Peroxide Value 251 14.5 Lipid Oxidation: Evaluating Oxidative Stability 253 14.6 Methods for Lipid Components 254 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.1, 2.1, 2.2 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.1, 2.1, 2.2, 3.1 |
| 6-7 | Chapter 6: Protein Analysis (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 9.1 Introduction 135 9.2 Methods 135 9.2.1 Kjeldahl Method 136 9.2.2 Dumas (Nitrogen Combustion) Method 138 9.2.3 Infrared Spectroscopy 138 9.2.4 Biuret Method 139 9.2.5 Lowry Method 139 9.2.6 Dye-Binding Methods 140 9.2.7 Bicinchoninic Acid Method 141 9.2.8 Ultraviolet 280nm Absorption Method 142 9.3 Comparison of Methods 143 9.4 Special Considerations 143 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.1, 2.1, 2.2, 3.1 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.1, 2.1, 2.2, 3.1 |
| 8-9 | Chapter 9: Carbohydrate Analysis (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 10.1 Introduction 149 10.2 Sample Preparation 151 10.3 Mono- and Oligosaccharides 152 10.3.1 Extraction 152 10.3.2 Total Carbohydrate: Phenol-Sulfuric Acid Method 152 10.3.3 Total Reducing Sugar 153 10.3.4 Specific Analysis of Mono- and Oligosaccharides 155 10.4 Polysaccharides 160 10.4.1 Starch 160 10.4.2 Nonstarch Polysaccharides (Hydrocolloids/Food Gums) 162 10.5 Dietary Fiber 165 10.5.1 Introduction 165 10.5.2 Major Components of Dietary Fiber 167 10.5.3 General Considerations 168 10.5.4 Methods 168 10.6 Physical Methods 171 10.6.1 Microscopy 171 10.6.2 Mass and NIR Transmittance Spectrometry 171 10.6.3 Specific Gravity 172 10.6.4 Refractive Index 172 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.1, 2.1, 2.2 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.1, 2.1, 2.2, 3.1 |
| 11 | Chapter 10: Spectroscopy (2/0/4) |  |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 22.1 Introduction 389 22.2 Ultraviolet and Visible Absorption Spectroscopy 389 22.2.1 Basis of Quantitative Absorption Spectroscopy 389 22.2.2 Deviations from Beer’s Law 391 22.2.3 Procedural Considerations 391 22.2.4 Calibration Curves 393 22.2.5 Effect of Indiscriminant Instrumental Error on the Precision of Absorption Measurements 394 22.2.6 Instrumentation 394 22.2.7 Instrument Design 398 22.2.8 Characteristics of UV–Vis Absorbing Species 399 22.3 Fluorescence Spectroscopy 400 Atomic Absorption Spectroscopy, Atomic Emission Spectroscopy 24.1 Introduction 423 24.2 General Principles 423 24.2.1 Energy Transitions in Atoms 423 24.2.2 Atomization 424 24.3 Atomic Absorption Spectroscopy 425 24.3.1 Principles of Flame Atomic Absorption Spectroscopy 425 24.3.2 Principles of Electrothermal Atomic Absorption Spectroscopy (Graphite Furnace AAS) 426 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.2 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.2 |

| 12 | Chapter 11: Chromatography (2/0/4) |  |
| --- | --- | --- |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 27.1 Introduction 475 27.2 Extraction 475 27.2.1 Batch Extraction 475 27.2.2 Continuous Extraction 475 27.2.3 Countercurrent Extraction 475 27.3 Chromatography 475 27.3.1 Historical Perspective 475 27.3.2 General Terminology 476 27.3.3 Gas Chromatography 476 27.3.4 Liquid Chromatography 477 27.4 Physicochemical Principles of Chromatographic Separation 481 27.4.1 Adsorption (Liquid–Solid) Chromatography 481 27.4.2 Partition (Liquid–Liquid) Chromatography 482 27.4.3 Ion-Exchange Chromatography 483 27.4.4 Size-Exclusion Chromatography 485 27.4.5 Affinity Chromatography 488 27.5 Analysis of Chromatographic Peaks 489 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.2 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.2 |

| 13 | Chapter 13: Physical Properties of Food (2/0/4) |  |
| --- | --- | --- |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: Rheological Principles for Food Analysis 30.1 Introduction 543 30.1.1 Rheological and Textural Properties 543 30.1.2 Fundamental and Empirical Methods 543 30.1.3 Basic Assumptions for Fundamental Rheological Methods 543 30.2 Fundamentals of Rheology 543 30.2.1 Concepts of Stress 543 30.2.2 Concepts of Strain and Strain (Shear) Rate 544 30.2.3 Solids: Elastic and Shear Moduli 545 30.2.4 Fluid Viscosity 545 30.2.5 Fluid Rheograms 546 30.3 Rheological Fluid Models 546 30.4 Rheometry 548 30.4.1 Rotational Viscometry 548 30.4.2 Compression, Extension, and Torsion (Shear) Analysis 550 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.3 |
|  | B/ Tasks for students at home: (8) - Homework - Prepare the next lesson | 1.3, 3.1 |

| 14 | Chapter 14: Color Analysis (2/0/4) |  |
| --- | --- | --- |
|  | A/ Content of lecture and Teaching methods: (2) Content of lecture: 32.1 Introduction 575 32.2 Physiological Basis of Color 575 32.3 Color Specification Systems 577 32.3.1 Visual Systems 577 32.3.2 Instrumental Measurement of Color 578 32.3.2.1 Historical Development 578 32.3.2.2 The CIE Tristimulus System 579 32.3.3 Tristimulus Colorimeters and Color Spaces 580 32.4 Practical Considerations in Color Measurement 582 32.4.1 Interaction of Light with Sample 582 32.4.2 Instrument Choice 583 32.4.3 Color Difference Equations and Color Tolerances 583 32.4.4 Sample Preparation and Presentation 583 Teaching menthods : - Lecture - Slideshow - Focus group discussion (FGD) | 1.3 |
|  | B/ Tasks for students at home: (4) - Homework - Prepare the next lesson | 1.3 |

- Academic Ethics

All exercises and tests during the course must be done by students themselves. If a student is caught cheating, his assignments will not be evaluated (grade 0).

- Date of first approval:

- Approval:

| Dean of faculty | Head of Department | Compiler(s) |
| --- | --- | --- |

- Updated history

| 1st updated : | Editor Head of Food Technology Department |
| --- | --- |