| UNIVERSITY OF TECHNOLOGY AND EDUCATION HCM CITY FACULTY OF VEHICLE AND ENERGY ENGNEERING | Program: Heat and refrigeration technology for high quality Level: Bachelor |
| --- | --- |

COURSE SYLLABUS

- Course name: AIR CONDITIONING ENGINEERING     Course code: ACSY330932E

- Credits:  3 (3/0/6) (3 theory credits, 0 practice credit)

- Lecturers:

Associate Professor. Hoang An Quoc

Dr. Le Xuan Hoa

Dr. Nguyen Xuan Vien

Doan Minh Hung

- Required course

Required courses: no

Pre-courses: Thermodynamic, Heat Transfer

- Course Description

The course is design to provide fundamental knowledge of different type of Air condition system and how to design Air condition system.

- Course Goals

| Goals | Course Objectives (The content of the course includes the academic knowledge:) | ELOs | Competence |
| --- | --- | --- | --- |
| G1 | 1. Define psychrometry and the composition of moist air; 2. Concept of Sensible Heat Factor, By-pass Factor and apparatus dew point temperature of cooling coils; 3. Concept of enthalpy potential and its use. 4. Describe a typical air conditioning system and discuss the need for fixing suitable indoor and outdoor design conditions 5. Define thermal comfort, metabolic rate and response of human beings to variation in body temperature | 1.2 1.3 | 3 4 |
| G2 | 1. Purpose of psychrometric calculations; 2. Selection guidelines for supply air conditions. 3. Introduce evaporative cooling systems; 4. Classify evaporative cooling systems. 5. Introduction to cooling and heating load calculations 6. Solar radiation, solar constant and solar irradiation 7. Estimation of heat transfer rate due to infiltration and ventilation. | 2.1 2.3 | 4 |
| G3 | 1. Introduction to load calculations ; 2. Differences between conventional cooling and heating load calculation methodologies ; 3. Estimation of the cooling capacity of the system; 4. Heating load calculations. 5.Introduction to thermal distribution systems and their functions; 6. Selection criteria for air conditioning systems; 7. Classification of air conditioning systems. | 3.2 | 3 |
| G4 | 1. Describe an Air Handling Unit (AHU) and its functions; 2. Discuss the need for studying transmission aspects of air in air conditioning; 3. Discuss estimation of pressure loss through air conditioning ducts; 4.Estimation of frictional pressure drop of circular and rectangular ducts using friction charts and equations 5. Important requirements of an air conditioning duct; 6. General rules for duct design; 7. Classification of duct systems; 8. Commonly used duct design methods; 9. Performance of duct systems; 10. Interaction between fan and duct system. | 4.1 4.2 4.3 | 5 |

- Expected learning outcomes

| Progamme Objectives |  | Description (After studying this course, student will be able :) | ELOs | Competence |
| --- | --- | --- | --- | --- |
| G1 | G1.1 | 1. Define psychrometry and atmospheric air 2. Use perfect gas law model and find the total pressure of air from partial pressures of dry air and water vapour 3. Define and estimate psychrometric properties 4. Draw the schematic of a psychrometric chart 5. Differentiate between thermodynamic WBT and WBT as measured by a wet bulb thermometer. | 1.2.5 | 3 |
|  | G1.2 | 1. Define thermal comfort, metabolism, metabolic rate and discuss the effects of variation in body temperatures on human beings 2. Define the various thermal indices used in evaluating indoor environment 3. Select suitable indoor design conditions based on comfort criteria | 1.3.1 1.3.2 1.3.3 | 3 3 4 |
| G2 | G2.1 | 1. Estimate the load on the cooling coil and fix the supply conditions for various summer conditioning systems. | 2.1.1 | 4 |
|  | G2.2 | 1. Explain the working principle of direct, indirect and multi-stage evaporative cooling systems 2. Perform psychrometric calculations on evaporative cooling systems 3. List the advantages and disadvantages of evaporative cooling systems 4. Evaluate the applicability of evaporative cooling systems based on climatic conditions 5. Describe winter air conditioning systems and perform psychrometric calculations on these systems. | 2.3.1 2.3.2 | 3 3 |
| G3 | G3.1 | 1. Explain the differences between conventional cooling and heating load calculations 2. List commonly used methods for estimating cooling loads 3. Estimate the required cooling capacity of the coil by taking into account the bypass factor of the coil, ventilation requirements etc. 4. Classify air conditioning systems | 3.2.1 3.2.2 3.2.3 3.2.4 | 3 |
| G4 | G4.1 | 1. Estimate frictional pressure drops through circular and non-circular ducts using friction charts and equations 2. Estimate dynamic pressure drop through various fittings used in air conditioning ducts using tables, charts and equations | 4.2.2 | 4 |
|  | G4.2 | 3. Define static regain and calculate static regain factor for various types of duct enlargements 4. Classify air conditioning ducts based on air velocity and static pressure 5. Design air conditioning ducts using velocity method, equal friction method or static regain method. | 4.3.4 4.4.1 4.5.4 | 5 |

- Classroom rules of conduct:

Students must do home works and projects by themselves. Student will be received zero score If he (or she) violates study regulations or ethics.

- Course content:

| Weeks | Contents | ELOs | Competence | Teaching Method | Assessement method |
| --- | --- | --- | --- | --- | --- |
| 12 | Chapter 1: Basic knowledge about wet air |  |  |  |  |
|  | A/ Contents and teaching methods in class: (3) + Psychrometry + Impacts of environment on human and manufacture + Determine inlet properties in air-conditioning design. | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (6) Searching and reading the related materials: books or Internet. + Doing exercise #1 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report# |
| 34 | Chapter 2: AIR CONDITIONING SYSTEMS |  |  |  |  |
|  | A/ Contents and teaching methods in class:(6) + Classification of air conditioning systems + All Air System: + All Water System + Air-Water System | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (6) Searching and reading the related materials: books or Internet. + Working on Report #1 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report# |
| 56 | Chương 3: The Balance Calculation for Calorie, Humidity Inside Room |  |  |  |  |
|  | A/ Contents and teaching methods in class + The balance equation heat and humidity + Determine exceed calorie QT + Determine exceed humidity WT | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (6) + Research on heatload doccument + Apllying calculation heatload. + Working on report #1 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
| 78 | Chapter 4: Processes and handling methods air calorie-humidity |  |  |  |  |
|  | A/ Contents and teaching methods in class (6) + Handling processes of air calorie-humidity + Handling methods of air calorie-humidity | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (12) + Research on heatload doccument + Apllying calculation heatload. + Working on report #1 + Working on project #1 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report# |
| 910 | Chapter 5: Establishment and Calculation of air-conditioning diagram |  |  |  |  |
|  | A/ Contents and teaching methods in class + Fundamental establishment of air-conditioning diagram + Calculating air-conditioning diagrams | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (12) + Research on doccuments of air-conditioning diagrams. + Working on report #2 and project #2 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report# |
| 1112 | Chapter 6: Heat-Humidity Exchanger between water and air |  |  |  |  |
|  | A/ Contents and teaching methods in class + Transmission of air and water + Elements effect of heat-humidity exchange efficiency | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (12) + Reading wet-air conditioning system + Drawing chart shows state change of water and air-conditioning on I-d and t-d + Working on report #3 & project #3 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report# |
| 1314 | Chapter 7: Duct Filtration |  |  |  |  |
|  | A/ Contents and teaching methods in class + Concepts, Classification and parameters of duct filters + Structure, principle and application of duct filters | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (12) + Reading duct filter doccuments + Finding in applications of filters in air-conditioning systems + working on report #4 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report# |
| 15 | Chapter 8: Ventilation |  |  |  |  |
|  | A/ Contents and teaching methods in class (3) + Concepts, purposes and classification of ventilation thông gió + Determine the flow of ventilation + Natural ventilation + Forced ventilation | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | Presentation, Discussion, | Problem# Project# Report# |
|  | B/ Contents for seft-study at home: (6) + Reading ventilation doccuments + Finding in standards to design ventilation. + working on report #5 | G1.1 G1.2 G2.1 G2.2 G3.1 G4.1 G4.2 | 3 4 4 3 3 4 5 | LMS | Problem# Project# Report#TL# |

10. Assessment:

- Grading Scale: 10

- Assesement plans:

:

| Assesement method | Content | Week | ELOs | Competence | Assesement method | Assessment tool | Percent(%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Problem |  |  |  |  |  |  | 20% |
| Problem #1 | Determine state changed processes and wet-air thermodynamic properties | 2 | G1.1 | 3 | multiple-choice | LMS | 10% |
| Problem #2 | Analyzing and evaluating state changed processes. | 4 | G1.1 | 3 | problem in class | assessement form | 10% |
| Project |  |  |  |  |  |  | 30% |
| Project#1 | Calculating exceed calorie-humidity in an air-conditioning space. | 8 | G1.2 | 4 | Homework | Rubrics | 15% |
| Project#2 | Procedure and plan in air-conditioning design. | 10 | G2.2 G3.1 | 3 | Homework, presentation | Rubrics | 5% |
| Project#3 | Methods to improve capacity/ energy efficiency in air-conditioning, ventilating systems. | 12 | G2.1 G3.1 | 4 | Homework, presentation | Rubrics | 10% |
| Report |  |  |  |  |  |  | 50% |
| Report #1 | Calculating and design ventilation, air-conditioning systems. | 15 | G4.1 G4.2 | 5 | report | Rubrics | 50% |

| ELOs | Assesement method |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Problem #1 | Problem #2 | Project #1 | Project #2 | Project #3 | Report #1 |
| G1.1 | x | x |  |  |  |  |
| G1.2 |  |  | x |  |  |  |
| G2.1 |  |  |  |  | x |  |
| G2.2 |  |  |  | x |  |  |
| G3.1 |  |  |  | x | x |  |
| G4.1 |  |  |  |  |  | x |
| G4.2 |  |  |  |  |  | x |

11. Texbooks

Reference Books:

1. 40 lessons on refrigeration and air conditioning from. useful training material for mechanical, EE IIT, Kharagpur, India, 2008

1. Refrigeration and Air Conditioning by W.F. Stoecker & J.W. Jones, McGraw-Hill,

1982

2. Principles of Refrigeration by R.J. Dossat, Pearson Education, Inc., 1997

3. Heating, Ventilating and Air Conditioning by F.C. McQuiston, J.D. Parker & J.D.

Spitler, John Wiley & Sons, Inc., 2001

4. Refrigeration and Air Conditioning by C.P.Arora, Tata-McGraw-Hill, 2003

5. Refrigeration and Air Conditioning by Manohar Prasad, New Age International,

2002

6. Principles of Refrigeration by W.B. Gosney, Cambridge University Press, 1982

7. Low Energy Cooling by Donald W. Abrams, Van Nostrand Reinhold Company,

1985;

8.Air Conditioning Engineering by W.P. Jones, Butterworth Heinemann, 2001.

12. Approved date:

13. Approvers:

| Dean | Head of department | Authors |
| --- | --- | --- |

14. Syllabus update:

| Time #1: Upgraded issues: date/month/year | <updating authors> Head of Department |
| --- | --- |