| HCMC UNIV. OF TECHNOLOGY AND EDUCATION Faculty of Civil Engineering | Programme: Construction Engineering Technology Level: Undergraduate |
| --- | --- |

Course Syllabus

- Course Title: Water Supply and Sewerage Engineering

- Course Code: WSSE233217E

- Credit Units: 3 (3/0/6) (3 units of theory/ 0 unit of practice/ 6 units of self-study)

Duration: 15 weeks (3 hours of theory+0 hours of practice, and 6 hours of self-study per week)

- Course Instructors:

1/ Dr. Trần Tuấn Kiệt

2/ MSc. Nguyễn Bá Duy

3/ MSc. Điền Hòa Anh Kiệt

- Course Requirements

Prerequisite courses: None

Previous courses: None

Parallel courses: None

- Course Description

This is a fundamental engineering course related to the field of water supply and sewerage. The course aims to introduce learners with basic knowledge of fluid mechanics such as flow, pressure, and flow velocities. Besides, the course also provide principles and solving methods to determine location, size and relationship between the parts of water supply and sewerage system in buildings as well as inside and outside urban. The course helps the learner to have abilities to design basically water supply and sewerage system inside and outside buildings.

- Course Goals

| Goals | Goal description | Programme ELOs |
| --- | --- | --- |
| G1 | Core knowledge in the area of water supply and sewerage | 1.2 |
| G2 | Analysis and giving possible solutions for water supply and sewerage. | 2.1, 2.4 |
| G3 | Ability of group working | 3.1 |

- Course Learning Outcomes (CLOs)

| CLOs |  | CLO Description | Programme ELOs |
| --- | --- | --- | --- |
| G1 | G1.1 | Demonstrate the basic concepts, terminologies, principles of water supply and sewerage. | 1.2 |
| G2 | G2.1 | Ability of design a water supply and sewerage system for a simple building. | 2.1 |
|  | G2.2 | Ability of design a water supply and sewrage system for a zone. | 2.4 |
| G3 | G3.1 | Ability of group working for discussing and giving solutions of water supply and sewerage problems. | 3.1 |

- Learning resourses

- Textbooks:

1. Nguyễn Thống , Cấp thoát nước, NXB Xây dựng, 2007.

2. Trần Thị Mai và các tác giả, Cấp thoát nước trong nhà , NXB Xây dựng, 2008.

3. Mackenzie L.Davis, Water and wastewater engineering (Design principles and practice), McGraw-Hill, 2010.

- References:

- KS.Lê Mục Đích, Sổ tay thiết kế công trình Cấp thoát nước, NXB Xây dựng, 2008

- E.W. Steel and Terence J. McGhee, Water supply and sewrage, McGraw-Hill, 2007.

- Assessment:

- Grading point: 10

- Assessment plan:

| Type | Content | Timeline | Assessment method | CLOs | Rate (%) |
| --- | --- | --- | --- | --- | --- |
| Attendance |  |  |  |  | 10 |
| Exam |  |  |  |  | 20 |
| E#1 | Design water supply/sanitary system | Week 12 | Individual paper | G1.1, G2.2 | 10 |
| E#2 | Design sewerage system | Week 14 | Individual paper | G1.1, G2.2 | 10 |
| Project |  |  |  |  | 20 |
| P#1 | Group working for design a water supply system of a zone. | Week 6-10 | Report | G1.1, G2.1, G3.1 | 20 |
| Final exam |  |  |  |  | 50 |
|  | - Calculations of water supply/sanitary system for a building or a zone. - Duration 90 |  | Paper assessment | G1.1, G2.1, G2.2 | 50 |

- Course contents

| Week | Content | CLOs |
| --- | --- | --- |
| 1 | Chapter 1: Introduction of water supply |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Introduction - Using water units - Water sources and intake station - Treatment plant - Intake water scheme Pedagogical methods: - Presentation and Explaination | G1.1, G2.1 |
|  | B/ Self-study content: (4) - Review - Reading: Treatment plant and Intake water scheme | G1.1, G2.1 |
| 2 | Chapter 2: Water demands |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Domestic water demand - Industrial demand - Demand for public use - Fire demand Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1, G2.1, G3.1 |
|  | B/ Self-study content: (4) - Review - Reading: Flow of compressible fluids | G1.1 G2.1 |
| 3 | Chapter 3: Flow of compressible fluids in pipeline |  |
|  | A/ Content and pedagogical methods in class: (4) Content: - Flow parameters (Q, , v, R) - Bernoulli equation Pedagogical methods: + Explaination. + Examples. | G1.1, G2.1 |
|  | B/ Self-study content: (8) - Review - Reading: Flow of incompressible/compressible fluids and energy losses | G1.1, G2.1 |
| 4 | Chapter 3: Flow of compressible fluids in pipeline (continue) |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Energy losses - Flow of incompressible/compressible fluids Pedagogical methods: + Explaination. + Examples. | G1.1, G2.1 |
|  | B/ Self-study content: (4) - Review - Reading: Pipe network analysis | G1.1, G2.1 |
| 5 | Chapter 4: Pipe network analysis |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Layouts and principles of water distribution system - Design of water distribution system - Hydraulic computations of tree system Pedagogical methods: - Presentation and Explaination | G1.1 G2.1 |
|  | B/ Self-study content: (4) - Review - Reading: Pipe network analysis | G2.1 G3.1 |
| 6 | Chapter 4: Pipe network analysis (continue) |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Hydraulic computations of ring system - Details of distribution network - Examples Pedagogical methods: - Presentation and Explaination | G1.1, G2.1 |
|  | B/ Self-study content: (4) - Do Project#1 | G2.1 G3.1 |
| 7 | Chapter 5: Water supply network for building |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Details of layout and symbols - Determine the water pressure of building outside - Details of water supply network for building Pedagogical methods: - Explaination - Discussion | G1.1 G2.2 G3.1 |
|  | B/ Self-study content: (4) - Review. - Do Project#1 | G2.2 G3.1 |
| 8 | Chapter 5: Water supply network for building (continue) |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Design of water supply network for building - The components of water supply system for building - Examples Pedagogical methods: - Presentation and Explaination | G1.1 G2.2 |
|  | B/ Self-study content: (4) - Review. - Do Project#1 - Reading: Pump, pump station, storage reservoir, storage tank | G2.2 G3.1 |
| 9 | Chapter 6: Pump, pump station, storage reservoir, storage tank |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Pump - Pump station - Storage reservoir - Storage tank Pedagogical methods: - Presentation and Explaination | G1.1 G2.2 |
|  | B/ Self-study content: (4) - Reading: Sanitary system for building - Do Project#1 | G1.1 G2.2 |
| 10 | Chapter 7: Sanitary system for building |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Concept, classification - Details of sanitary network for building Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1 G2.2 |
|  | B/ Self-study content: (4) - Review. - Reading: Design of sanitary network for building - Do Project#1 | G2.2 G3.1 |
| 11 | Chapter 7: Sanitary system for building (continue) |  |
|  | A/ Content and pedagogical methods in class: (2) Content: - Design of sanitary network for building Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1 G2.2 G3.1 |
|  | B/ Self-study content: (4) - Review. - Prepare E#1 | G2.2 |
| 12 | Chapter 7: Sanitary system for building (continue) |  |
|  | A/ Content and pedagogical methods in class: (6) Content: - All review Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1 G2.1 G2.2 G3.1 |
|  | B/ Self-study content: (4) - All review. - Prepare E#1 | G1.1 G2.1 G2.2 G3.1 |
| 13 | Chapter 8: Urban sewerage sytem |  |
|  | A/ Content and pedagogical methods in class: (6) Content: 8.1 What is urban sewerage system ? 8.2 The main parts and the sewrage diagrams 8.3 Types of urban sewrage systems Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1 G2.1 G2.2 G3.1 |
|  | B/ Self-study content: (4) - All review. - Prepare E#2 | G1.1 G2.1 G2.2 G3.1 |
| 14 | Chapter 8: Urban sewerage sytem (continue) |  |
|  | A/ Content and pedagogical methods in class: (6) Content: 8.4 Conditions for collecting wastewater into the sewerage network 8.5 The basis parameters in planning and designing sewerage system 8.6 Calculation of urban wastewater flow Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1 G2.1 G2.2 G3.1 |
|  | B/ Self-study content: (4) - All review. - Prepare E#2 | G1.1 G2.1 G2.2 G3.1 |
| 15 | Chapter 8: Urban sewerage sytem (continue) |  |
|  | A/ Content and pedagogical methods in class: (6) Content: 8.7 Selecting of the drainage system 8.8 Planning of the sewerage network 8.9 All review Pedagogical methods: - Presentation and Explaination - Group discussion | G1.1 G2.1 G2.2 G3.1 |
|  | B/ Self-study content: (4) - All review. - Prepare for final exam | G1.1 G2.1 G2.2 G3.1 |

- Learning Ethics

Home assignments must be done by the students themselves. Plagiarism found in the assessments will get zero grade point.

- Date of first approval: June 1st, 2017

- Approval:

| Dean | Head of Department | Instructor |
| --- | --- | --- |
| A/Prof. Dr. Nguyễn Trung Kiên | MSc. Nguyễn Văn Hậu | Dr. Trần Tuấn Kiệt |

- Date and Up-to-date content

| 1st time: Date: | Instructor Head of department: |
| --- | --- |